## SITE Fields
SITE Field Name | Data Source | AREA | SUB-AREA(S) | Field Type | Option Values | Query / Comments
RADIX Site Table entry number | RADIX | Summary | Basic Information | Integer
Site ID | MASTER TRACKER | Summary | Basic Information | 8-character alphanumeric string | -
Site Name | MASTER TRACKER | Summary | Basic Information | Free-Form Text | - | -
Alias | RADIX | Summary | Basic Information | Free-Form Text | - | -
Site Status | MASTER TRACKER | Summary | Basic Information | Option | Active, Option, Retired, To Be Retired, UTS | -
Site Type | MASTER TRACKER | Summary | Basic Information | Option | Greenfield, Rooftop, Colocation | -
Multi Mast Sites | MASTER TRACKER | Summary | Basic Information | Option | Yes, No | -
Old ID | MASTER TRACKER | Summary | Basic Information | Free-Form Text | - | -
Structures List | n/a | Summary | Infrastructure | List of associated INFRASTRUCTURE records | - | List INFRASTRUCTURE Table entries with Site field matching and Infrastructure Type of Structure
Accommodation List | n/a | Summary | Infrastructure | List of associated INFRASTRUCTURE records | - | List INFRASTRUCTURE Table entries with Site field matching and Infrastructure Type of Accommodation
Fibre List | n/a | Summary | Infrastructure | List of associated INFRASTRUCTURE records | - | List INFRASTRUCTURE Table entries with Site field matching and Infrastructure Type of Fibre
Height ASL (m) | TLM TRACKER | Summary | Basic Information | Decimal (2 decimal points) | - | -
Site Level | RADIX | Summary | Basic Information | Option | Premium, Level 1, Level 2, Level 3, Level 4 | -
Portfolio | MASTER TRACKER | Summary | Basic Information | Option | 108, TC68, EED, BTS, Other | Option values updated
SRF Status | Master Tracker | Structure | General | Option | Full SRF, Remove Only, No SRF | -
SAF Status | Master Tracker | Structure | General | Option | Full SAF, Survey only, Op Maintenance only, Construction only, TL only, No SAF
Public | MASTER TRACKER | Summary | Basic Information | Option | Yes All, Tenant Customer only, TL only, No All. | -
BTS Status | MASTER TRACKER | Summary | Basic Information | Option | Option, Candidate, HOTs Signed, In Planning, Planning Granted, Acquired, In Build, Active
Address | RADIX | Summary | Location | Free-Form Text | - | Does Netsuite have an address type?
Eircode | NO SOURCE | Summary | Location | Free-Form Text | - | NEW FIELD
What3Words | NO SOURCE | Summary | Location | Free-Form Text | -
County | RADIX | Summary | Location | Option | - | -
Easting | RADIX | Summary | Location | 6-digit Decimal (0 decimal points) | - | Is one set calculated from the other or are each set independent? Is any validation done? Should we have separate coordinates for each STRUCTURE as well as a set of SITE coordinates?
Northing | RADIX | Summary | Location | 6-digit Decimal (0 decimal points) | -
Longitude | RADIX | Summary | Location | Decimal (6 decimal points) | -
Latitude | RADIX | Summary | Location | Decimal (6 decimal points) | -
SAF Auto Approve | RADIX | Summary | Access | Option | No, Yes | -
Track Type | RADIX | Access | Access | Option | Tarmac, Hardcore | -
Easting (Access) | RADIX | Access | Access | 6-digit Decimal (0 decimal points) | - | -
Northing (Access) | RADIX | Access | Access | 6-digit Decimal (0 decimal points) | - | -
Longitude (Access) | RADIX | Access | Access | Decimal (6 decimal points) | - | -
Latitude (Access) | RADIX | Access | Access | Decimal (6 decimal points) | - | -
Access What3Words | NO SOURCE | Access | Access | Free-Form Text | -
Directions | RADIX | Access | Access | Text Area | - | -
Instructions | RADIX | Access | Access | Text Area | - | -
Tenant Card Required | RADIX | Access | Access | Option | No, Yes | -
4x4 Required | RADIX | Access | Access | Option | No, Yes | -
Parking Restrictions | RADIX | Access | Access | Free-Form Text | - | -
Crane/Mewp Access | RADIX | Access | Access | Option | No, Yes | -
Dual Lock Installed | RADIX | Access | Access | Option | No, Yes | REMOVE FIELD
Site Locks | LOCK TRACKER | Access | Access | List of associated LOCK records | - | List LOCK Table entries with Site field matching
Safety / Special Notes | RADIX | Access | Access | Text Area | - | -
Land Agrement List |  | Estates | Land | List of associated LAND records
ROW Agrement List |  | Estates | Land | List of associated ROW records
Current Land Agreement | MASTER TRACKER | Estates | Land | LAND Lookup | - | REMOVE FIELD
Superceded Land Agreement | MASTER TRACKER | Estates | Land | LAND Lookup | - | REMOVE FIELD
In Progress Land Agreement | n/a | Estates | Land | LAND Lookup | - | REMOVE FIELD
Current ROW | MASTER TRACKER | Estates | ROW | ROW Lookup | - | REMOVE FIELD
Secondary ROW | MASTER TRACKER | Estates | ROW | ROW Lookup | - | REMOVE FIELD
In Progress ROW | n/a | Estates | ROW | ROW Lookup | - | REMOVE FIELD
Full Demised Area Fenced | RADIX | Estates | Perimeter | Option | No, Yes | -
Adjacent Groud Space | RADIX | Estates | Perimeter | Option | No, Yes | -
Adjacent Ground Owner | RADIX | Estates | Perimeter | Free-Form Text | - | -
Perimeter Type | RADIX | Estates | Perimeter | Option | Chainlink Fence, Chainlink Fence w/Barbed Wire, Pallisade, Pallisade/Chain Link Combination, Pallisade/Stone Wall Combination, Post & Rail Fence, Stone Wall, Stone/Chain Link Combination, Timber Fence, None | Option values updated
Fence Height (m) | RADIX | Estates | Perimeter | Integer | - | -
Independent Power Supplies | n/a | Power | Power | Auto-Generated Integer | - | Count of Active Power Supplies
Available Meter Slots | POWER TRACKERS | Power | Power | Integer | - | REMOVE FIELD
Power Supply List | POWER TRACKERS | Power | Power | List of associated POWER SUPPLY records | - | List POWER SUPPLY Table entries with Site field matching
Generator List | POWER TRACKERS | Power | Power | List of associated INFRASTRUCTURE records | - | List INFRASTRUCTURE Table entries with Site field matching and Infrastructure Type of Generator
Next Generator Service | NO DATA | Service & Inspections | Power | Date |  | This needs to bubble up from associated Active GENERATORS
Next Earth & LP Test | NO DATA | Service & Inspections | Power | Date
Earth & LP Inspections List | NO DATA | Service & Inspections | Power | List of associated E&LP SERVICE records |  | List E&LP SERVICE Table entries with Site field matching
Next Structure Inspection Date |  | Service & Inspections | Structure | Script Date |  | This needs to bubble up from associated Active STRUCTURES - the soonest of each of these fields in the associated structures OR just table the structreus with the relevant fields shown
Next Fall Arrest Certification Date | n/a | Service & Inspections | Structure | Script Date
Next Tower Painting Date | n/a | Service & Inspections | Structure | Script Date
Structure Inspections List | NO DATA | Service & Inspections | Structure | List of associated INSPECTION records |  | List INSPECTION Table entries with Site field matching
Next Aircon Service Date | n/a | Service & Inspections | Facilities | Date |  | This needs to bubble up from associated Active ACCOMMODATIONS
Next Fire Service Date | n/a | Service & Inspections | Facilities | Date |  | This needs to bubble up from associated Active ACCOMMODATIONS
Next Alarm Service Date | n/a | Service & Inspections | Facilities | Date | - | This needs to bubble up from associated Active ACCOMMODATIONS
Facilities Services List | NO DATA | Service & Inspections | Facilities | List of associated FACILITIES SERVICE records | - | List FACILITIES SERVICE Table entries with Site field matching
Marketing Status | Master Tracker | Marketing | General | Option | Yes, No | Hold off on these fields until further internal review takes place
General Site Availability |  | Marketing | Marketability | Option | Yes, No, Qualified
Availability - Planning Restriction |  | Marketing | Marketability | Option | Yes, No
Planning Restriction Comment |  | Marketing | Marketability | Free-Form Text
Availability - Estates Restriction |  | Marketing | Marketability | Option | Yes, No
Estates Restriction Comment |  | Marketing | Marketability | Free-Form Text
Availability - Structural Restriction |  | Marketing | Marketability | Option | Yes, No
Availability - Operational Restriction |  | Marketing | Marketability | Option | Yes, No
Capacity Available |  | Marketing | Marketability | Option | Multiple MNO, 1 MNO, Existing Customer Equipment Addition, Limited, None
Development Potential |  | Marketing | Marketability | Multi-Option | Strengthen, Extend, Replace, None
Development Restrictions |  | Marketing | Marketability | Multi-Option | Requires Planning, Requires Rights Review, Requires Space, Community
Available Height (m) |  | Marketing | Marketability | Integer
Marketability Requires Review |  | Marketing | Marketability | Option | Yes, No
Customer Presence List |  | Marketing | General | List of associated CUSTOMER PRESENCE records
Customer Presence | MNO REF TRACKER | Marketing | Key Customer Presence | Multi-Option | Any company whose Company Flag is set to "Customer" | REMOVE FIELD
Three Site Ref | MNO REF TRACKER | Marketing | Key Customer Presence | Free-Form Text |  | REMOVE FIELD
Vodafone Site Ref | MNO REF TRACKER | Marketing | Key Customer Presence | Free-Form Text |  | REMOVE FIELD
Eir Mobile Site Ref | MNO REF TRACKER | Marketing | Key Customer Presence | Free-Form Text |  | REMOVE FIELD
TI Site Ref | MNO REF TRACKER | Marketing | Key Customer Presence | Free-Form Text |  | REMOVE FIELD
MNO Occupancy |  | Marketing | Key Customer Presence | Integer | Auto-generated = number of entries in CUSTOMER PRESENCE list where Presence Type = Licenced or Installed AND Customer Type = Mobile Network Operator
Non-MNO Occupancy |  | Marketing | Key Customer Presence | Integer | Auto-generated = number of entries in CUSTOMER PRESENCE list where Presence Type = Licenced or Installed AND Customer Type <> Mobile Network Operator
Occupancy |  | Marketing | Key Customer Presence | Integer | Auto-generated sum of MNO Occupancy and Non-MNO Accupancy
Access |  | Files & Drawings | Files & Drawings | Lookup to files | - | Files area needs review - hold off for now
Site Safety |  | Files & Drawings | Files & Drawings | Lookup to files | -
Licence Maps |  | Files & Drawings | Files & Drawings | Lookup to files | -
Agreements |  | Files & Drawings | Files & Drawings | Lookup to files | -
CAD Drawings |  | Files & Drawings | Files & Drawings | Lookup to files | -
Elevations |  | Files & Drawings | Files & Drawings | Lookup to files | -
Panoramics |  | Files & Drawings | Files & Drawings | Lookup to files | -
Record Drawings |  | Files & Drawings | Files & Drawings | Option | No, Yes
Record Designer |  | Files & Drawings | Files & Drawings | COMPANY Lookup | -
Layout Drawings |  | Files & Drawings | Files & Drawings | Option | No, Yes
Layout Designer |  | Files & Drawings | Files & Drawings | COMPANY Lookup | -

## LOCK Fields
LOCKS Field Name | DATA SOURCE | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site | - | Locks | - | SITE Lookup | - | Select SITE Table Entry
Lock ID |  | Locks |  | Free-Form Text | LOCK-XXXXX
Lock Location Category |  | Locks |  | Option | Gate, Gate with Dual Lock, Anti-Climb, Accomodation, Generator, Other
Secured Infrastructure | - | Locks | - | INFRASTRUCTURE Lookup |  | Select INFRASTRUCTURE Table Entry
Comment |  | Locks |  | Free-Form Text
Lock Type |  | Locks |  | Option | Locken, Locken Passive, Abloy, Other
Lock Config |  |  |  | Option | Euro Cylinder, Long Padlock, Short Padlock, Key Safe | NEW FIELD
Locken Lock Name |  |  |  | Free-Form Text |  | NEW FIELD
Locken Access Point Reference |  | Locks |  | Free-Form Text
Other Reference |  | Locks |  | Free-Form Text
A1 Short |  | Locks |  | Free-Form Text |  | REMOVE FIELD
A1 Long |  | Locks |  | Free-Form Text |  | REMOVE FIELD
B1 Short |  | Locks |  | Free-Form Text |  | REMOVE FIELD
B1 Long |  | Locks |  | Free-Form Text |  | REMOVE FIELD
Abloy Cylinders |  | Locks |  | Free-Form Text |  | REMOVE FIELD
Differ Number |  | Locks |  | Free-Form Text |  | REMOVE FIELD
Abloy Lubrication Date |  | Locks |  | Date |  | REMOVE FIELD

## INFRASTRUCTURE Fields
STRUCTURE Field Name | DATA SOURCE | AREA | SUB-AREA | Field Type | Option Values | Query/Comment | c heck sample data | Infrastructure Type Relevant
Site | - | Infrastructure | General | SITE Lookup | - | Select SITE Table Entry | 1 | ALL
Infrastructure Type |  | Infrastructure | General | Option | Structure, Accommodation, Fibre, Generator | NEW FIELD | 2 | ALL
Infrastructure ID | Master Tracker | Infrastructure | General | Free-Form Text | - | Needs to be unique | 3 | ALL
Legacy ID | Master Tracker | Infrastructure | General | Free-Form Text | - |  | 4 | Structure
Status | Master Tracker | Infrastructure | General | Option | Live Site, UTS WIP, Option, To be Retired, Retired, Not Live, Planned |  | 6 | ALL
SRF Status | Master Tracker | Infrastructure | General | Option | Full SRF, Remove Only, No SRF |  | 11 | Structure, Accommodation, Fibre
SAF Status | Master Tracker | Infrastructure | General | Option | Full SAF, Survey only, Op Maintenance only, Construction only, TL only, No SAF |  | 12 | Structure, Accommodation, Fibre
SAF Auto Approve | RADIX | Infrastructure | General | Option | No, Yes | This needs to be set to No automatically if the Fall Arrest Certification is Expired | 20 | Structure, Accommodation, Fibre
Schedule | Master Tracker | Infrastructure | General | Option | Schedule 1, Schedule 2, Schedule 3a, Schedule 3b, Schedule 3f, MLA, Non MLA site, Option A (EED), TALA, Freehold, Leasehold, LTRU, Option A (3a), Option A (3b), Expansion Space, Schedule 3a: RT |  | 5 | Structure
Infrastructure Ownership | Master Tracker | Infrastructure | General | COMPANY Lookup | - | Select COMPANY Table Entry | 7 | ALL
O&M Ownership | Master Tracker | Infrastructure | General | COMPANY Lookup | - | Select COMPANY Table Entry | 8 | ALL
Insurance Ownership | Master Tracker | Infrastructure | General | COMPANY Lookup | - | Select COMPANY Table Entry | 9 | ALL
Marketing Status | Master Tracker | Infrastructure | General | Option | Yes, No |  | 10 | ALL
Public | RADIX | Infrastructure | General | Option | Yes All, Tenant Customer only, TL only, No All. |  | 13 | ALL
Locks List | IN RADIX AND NEW SYSTEM | Infrastructure | Access | List of associated LOCK records | - | List LOCK Table entries with Site field and Infrastructure field matching | OK | Structure, Accommodation, Generator
Planning Records List |  | Infrastructure | Planning | List of associated PLANNING records |  | List PLANNING Table entries with Site field and Infrastructure field matching | OK | Structure, Accommodation
Comments | - | Infrastructure | General | Free-Form Text | - |  | 14 | ALL
Easting | IN RADIX AND NEW SYSTEM | Infrastructure | Location | 6-digit Decimal (0 decimal points) | - | It would be great to calculate one from the other | 24 | Structure, Accommodation
Northing | IN RADIX AND NEW SYSTEM | Infrastructure | Location | 6-digit Decimal (0 decimal points) | - |  | 25 | Structure, Accommodation
Longitude | IN RADIX AND NEW SYSTEM | Infrastructure | Location | Decimal (6 decimal points) | - |  | 26 | Structure, Accommodation
Latitude | IN RADIX AND NEW SYSTEM | Infrastructure | Location | Decimal (6 decimal points) | - |  | 27 | Structure, Accommodation
Structure Type | TLM Tracker | Structure | General | Option | Lattice Mast, Stayed Mast, Monopole, Wooden Pole, Rooftop Mast, Rooftop, No Structure |  | 15 | Structure
Tower Family | TLM Tracker | Structure | General | Option | See separate tab | - | 16 | Structure
Structure Height (m) | TLM Tracker | Structure | General | Decimal (2 decimal points) | - | - | 17 | Structure
Future Planned Structure Height (m) | n/a | Structure | General | Decimal (2 decimal points) |  |  | 18 | Structure
Rooftop Height (m) | TLM Tracker | Structure | General | Decimal (2 decimal points) | - | - | 19 | Structure
Aircraft Lights List | TBD | Structure | General | List of associated AWL records | - | List AWL Table entries with Site field and Infrastructure field matching | OK | Structure
Fall Arrest Status | RADIX | Structure | Access | Option | Not Present, Certified, Certification Expired | - | 21 | Structure
Fall Arrest Type | RADIX | Structure | Access | Option | Latchway, Metreel | Any railok should be considered no fall arrest | 22 | Structure
Anti Climb | RADIX | Structure | Access | Option | No, Yes | - | 23 | Structure
Next Site Inspection Date | IN RADIX AND NEW SYSTEM | Structure | Inspections | Date | - | - | 28 | Structure
Next Fall Arrest Certification Date |  | Structure | Inspections | Date |  | If the Fall Arrest Status is Present and this date elapses, the Fall Arrest Status should be set to Expired | 29 | Structure
Tower Last Painted Date | IN RADIX AND NEW SYSTEM | Structure | Inspections | Date | - | - | 30 | Structure
Scheduled Next Painting Date | IN RADIX AND NEW SYSTEM | Structure | Inspections | Date | - | - | 31 | Structure
Painting Warranty Expiry Date | IN RADIX AND NEW SYSTEM | Structure | Inspections | Date | - | - | 32 | Structure
Structure Inspections List | IN RADIX AND NEW SYSTEM | Structure | Inspections | List of associated INSPECTION records | - | List INSPECTION Table entries with Site field and Infrastructure field matching | OK | Structure
Structure Design |  | Structure | Design | Text Area |  |  | 33 | Structure
Structure Design Schematic |  | Structure | Design | Lookup to files |  | DEFER FOR A NOW | OK | Structure
Year of Build |  | Structure | Design | Integer |  |  | 34 | Structure
Geotype |  | Structure | Design | Option | Country, Town |  | 35 | Structure
Proximity to Body of Water (km) |  | Structure | Design | Decimal |  |  | 36 | Structure
Land Topology |  | Structure | Design | Option | Flat, Hill |  | 37 | Structure
Wind Map Vb,map (m/s) |  | Structure | Design | Integer |  |  | 38 | Structure
Foundation Type |  | Structure | Design | Option | Pad, Pile, Slab |  | 39 | Structure
Foundation Design |  | Structure | Design | Text Area |  |  | 40 | Structure
Foundation Dimensions |  | Structure | Design | Free-Form Text |  |  | 41 | Structure
Foundation Contractor |  | Files & Drawings | Files & Drawings | COMPANY Lookup | - | Select COMPANY Table Entry | 42 | Structure
Soil Bearing DCP/SI (kN/m) |  | Structure | Design | Decimal |  |  | 43 | Structure
Ground Water (BGL) |  | Structure | Design | Decimal |  |  | 44 | Structure
Foundation FOS |  | Structure | Design | Decimal |  |  | 45 | Structure
Foundation Overturning (kN/m) |  | Structure | Design | Decimal |  |  | 46 | Structure
Structure Capacity Σ ESA_(m²) |  | Structure | Design | Decimal |  |  | 47 | Structure
Structure Capacity Σ E-BM_(m².m) |  | Structure | Design | Decimal |  |  | 48 | Structure
Structure Equipment loading Σ E-BM_(m².m) |  | Structure | Design | Decimal |  |  | 49 | Structure
% Capacity used |  | Structure | Capacity | Integer |  |  | 50 | Structure
% Capacity remaining |  | Structure | Capacity | Integer |  |  | 51 | Structure
TLM |  | Structure | Capacity | Option | Green, Amber, Blue, Red |  | 52 | Structure
Capacity Review List | IN RADIX AND NEW SYSTEM | Structure | Capacity | List of associated CAPACITY REVIEW records | - | List CAPACITY REVIEW Table entries with Site field and Infrastructure field matching | OK | Structure
Tower Drawings Available |  | Files & Drawings | Files & Drawings | Option | No, Yes | DEFER FIELD FOR NOW | OK | Structure
Number of Tower Drawings |  | Files & Drawings | Files & Drawings | Integer | - | DEFER FIELD FOR NOW | OK | Structure
Foundation Drawings |  | Files & Drawings | Files & Drawings | Option | No, Yes | DEFER FIELD FOR NOW | OK | Structure
Foundation Drawings Produced |  | Files & Drawings | Files & Drawings | String | - | DEFER FIELD FOR NOW | OK | Structure
Accomodation Type | - | Accommodation | General | Option | Cabin, Building, Room | - | 53 | Accommodation
Accommodation Dimensions |  | Accommodation | General | Free-Form Text |  |  | 54 | Accommodation
Rack Spaces Available | - | Accommodation | General | Integer | - | - | 55 | Accommodation
Units | - | Accommodation | Aircon | Integer |  |  | 56 | Accommodation
Model | - | Accommodation | Aircon | Free-Form Text |  |  | 57 | Accommodation
Installed | - | Accommodation | Aircon | Date |  |  | 58 | Accommodation
AC Feed Phase |  | Accommodation | Aircon | Option | Single, Three Phase |  | 59 | Accommodation
Loadings |  | Accommodation | Aircon | Integer |  | Power consumption of units | 60 | Accommodation
Noise Level |  | Accommodation | Aircon | Integer |  | Do we need this? | 61 | Accommodation
Next Aircon Service |  | Accommodation | Aircon | Date |  |  | 62 | Accommodation
Intruder Alarm Present |  | Accommodation | Alarms | Option | No, Yes |  | 63 | Accommodation
Intruder Code |  | Accommodation | Alarms | Free-Form Text | - |  | 64 | Accommodation
Fire Alarm Present |  | Accommodation | Fire | Option | No, Yes |  | 65 | Accommodation
Next Fire Service |  | Accommodation | Fire | Date |  |  | 66 | Accommodation
Next Alarm Service |  | Accommodation | Alarms | Date |  |  | 67 | Accommodation
Facilities Service List |  | Accommodation | Service | List of associated FACILITY SERVICE records |  | List FACILITIES SERVICE Table entries with Site field and Infrastructure field matching | OK | Accommodation
Fibre Infrastructure Status |  | Fibre | General | Option | Inactive, Active, Planned | DEFER FIELD FOR NOW | OK | Fibre
Fibre Duct Installed | - | Fibre | General | Option | Yes, No, Partial | DEFER FIELD FOR NOW | OK | Fibre
Fibre Infrastructure Type |  | Fibre | General | Option | Duct, Duct & Dark Fibre, Lit Fibre, Duct & Lit Fibre | DEFER FIELD FOR NOW | OK | Fibre
Fibre Service Providers | - | Fibre | General | Multi-Option | openeir, Enet, ESB, BT, Virgin Media, SIRO, Other, "--" | DEFER FIELD FOR NOW | OK | Fibre
Fibre Priority | - | Fibre | General | Free-Form Text | - | DEFER FIELD FOR NOW | OK | Fibre
Fibre Phase | - | Fibre | General | Free-Form Text | - | DEFER FIELD FOR NOW | OK | Fibre
Fibre Partner Priority | - | Fibre | General | Free-Form Text | - | DEFER FIELD FOR NOW | OK | Fibre
Fibre Comments | - | Fibre | General | Free-Form Text | - | DEFER FIELD FOR NOW | OK | Fibre
Generator Model |  | Generator | General | Free-Form Text |  |  | 68 | Generator
Power Capacity |  | Generator | General | Integer | - |  | 69 | Generator
Tank Capacity (l) |  | Generator | General | Integer | - |  | 70 | Generator
Generator Service List |  | Generator | General | List of associated GENERATOR SERVICE records |  | List GENERATOR SERVICE Table entries with Site field and Infrastructure field matching | OK | Generator
Next Generator Service |  | Generator | General | Date | - |  | 71 | Generator
Next Generator Service Type |  | Generator | General | Option | On-Load Run, Off-Load Run, Oil Service, Full Service |  | 72 | Generator

## INSPECTION Fields
INSPECTION Field Name | Data Source | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site |  | Climbdown | - | SITE Lookup | - | Select SITE Table Entry
Structure |  | Climbdown |  | INFRASTRUCTURE Lookup | - | Select INFRASTRUCTURE Table Entry where Site matches
Inspection Type |  | Climbdown |  | Option | Structure Inspection, Rooftop Inspection, Wooden Pole Inspection, Fall Arrest Certification, Tower Painting, Ground-based Visual
Inspection Date |  | Climbdown | - | Date | - | -
Inspected by Company |  | Climbdown |  | COMPANY Lookup |  | Select COMPANY Table Entry
Inspected by Profile |  |  |  | PROFILE Lookup |  | Select PROFILE Table Entry
Detailed entered by |  | Climbdown |  | PROFILE Lookup |  | Select PROFILE Table Entry
Comments |  | Climbdown |  | Free-Form Text | -
Inspection Report |  | Climbdown |  | Lookup to files

## FACILITIES SERVICE Fields
FACILITIES SERVICE Field Name | Data Source | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site |  | General | - | Lookup SITE |  | Select SITE Table Entry
Accommodation |  | General | - | INFRASTRUCTURE Lookup |  | Select INFRASTRUCTURE Table Entry where Site matches
Service Type |  | General | - | Option | Fire, Intruder, Fire & Intruder, AirCon Service, AirCon Temp Check
Service Date |  | General | - | Date
Serviced By |  | General |  | COMPANY Lookup |  | Select COMPANY Table Entry
Temperature (deg C) |  | Aircon | - | Free-Form Text | -
units |  | Fire | - | Integer (0dp)
co2_refilled |  | Fire | - | Integer (0dp)
co2_tested |  | Fire | - | Integer (0dp)
abc_refilled |  | Fire | - | Integer (0dp)
Detailed entered by |  | General |  | PROFILE Lookup |  | Select PROFILE Table Entry
Comments |  | General |  | Free-Form Text | -
Service Record |  | General |  | Lookup to files

## GENERATOR Service Fields
GENERAATOR Field Name | DATA SOURCE | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site | - | Generator | - | SITE Lookup | - | Select SITE Table Entry
Generator | Master Tracker | Generator | - | INFRASTRUCTURE Lookup | - | Select INFRASTRUCTURE Table Entry where Site matches
Service Type | - | Generator | - | Option | On-Load Run, Off-Load Run, Oil Service, Full Service, Refuel | -
Fuel Delivered | - | Generator | - | Integer | - | -
Tank State after Refuel |  | Generator |  | Option | 1/4, 1/2, 3/4, Full
Comments |  | Generator |  | Free-Form Text
Service Record |  | Generator |  | Lookup to files
Serviced By |  | General |  | COMPANY Lookup |  | Select COMPANY Table Entry
Detailed entered by |  | General |  | PROFILE Lookup |  | Select PROFILE Table Entry

## E&LP SERVICE Fields
E&LP SERVICE Field Name | Data Source | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site |  | E&LP Service | - | SITE Lookup |  | Select SITE Table Entry
Test Date |  | E&LP Service | - | Date
Tested By |  | E&LP Service |  | COMPANY Lookup |  | Select COMPANY Table Entry
Detailed entered by |  | E&LP Service |  | PROFILE Lookup |  | Select PROFILE Table Entry
Comments |  | E&LP Service |  | Free-Form Text | -
Certification |  | E&LP Service |  | Lookup to files

## AWL Fields
AWL Field Name | Data Source | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site |  |  |  | SITE Lookup | - | Select SITE Table Entry | -
Structure |  |  |  | INFRASTRUCTURE Lookup |  | Select INFRASTRUCTURE Table Entry where Site matches
AWL Type |  |  |  | Free-Form Text | - | -
Intensity |  |  |  | Option | Low, Medium, High | -
Height |  |  |  | Integer | - | -

## POWER SUPPLY Fields
POWER SUPPLY Field Name | Data Source | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site | POWER TRACKER | Power | Power Supply | SITE Lookup | - | Select SITE Table Entry
Power Supply ID | POWER TRACKER | Power | Power Supply | Free-Form Text | PWR-XXXX
Power Suppler | POWER TRACKER | Power | Power Supply | COMPANY Lookup | - | Select COMPANY Table Entry
Power Supply Status | POWER TRACKER | Power | Power Supply | Option | Active, Inactive
Power Supplier Type | POWER TRACKER | Power | Power Supply | Option | Supplier, Private, Customer
Power Supply Category | POWER TRACKER | Power | Power Supply | Option | Temp, Permanent
Generator Backup | POWER TRACKER | Power | Power Supply | INFRASTRUCTURE Lookup
MPRN | POWER TRACKER | Power | Power Supply | Free-Form Text
Meter Number | POWER TRACKER | Power | Power Supply | Free-Form Text
Meter Location | POWER TRACKER | Power | Power Supply | Free-Form Text
Meter Multiplier | POWER TRACKER | Power | Power Supply | Integer
Available Meter Slots | POWER TRACKER | Power | Power Supply | Integer
Power Phase | POWER TRACKER | Power | Power Supply | Option | Single, Three Phase, Single & Three Phase
Power Capacity kVA | POWER TRACKER | Power | Power Supply | Integer
Available Power Capacity kVA | POWER TRACKER | Power | Power Supply | Integer
Power TLM | POWER TRACKER | Power | Power Supply | Option | Red, Orange, Green
Power Supplier must read meter | POWER TRACKER | Power | Power Supply | Option | Yes, No
Next Meter Reading Date | POWER TRACKER | Power | Power Supply | Date
Comment | POWER TRACKER | Power | Power Supply | Free-Form Text
Power User List | n/a | Power | Power Supply | List of associated POWER USER records |  | List POWER READINGS Table entries with Site field matching
Power Reading List | n/a | Power | Power Supply | List of associated POWER READING records |  | List POWER READINGS Table entries with Site field matching

## POWER USER Fields
POWER USER Field Name | Data Source | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site | POWER TRACKER | Power | Power User | Lookup SITE |  | Select SITE Table Entry
Power Supply | POWER TRACKER | Power | Power User | Lookup POWER SUPPLY | ESB, SSE, Building Owner | Select POWER SUPPLY Table Entry
Customer | POWER TRACKER | Power | Power User | Lookup COMPANY |  | Select COMPANY Table Entry
Power Load kW | POWER TRACKER | Power | Power User | Integer (2dp)
Power Billable | POWER TRACKER | Power | Power User | Option | Yes, No
Usage Billed To | POWER TRACKER | Power | Power User | Date
Generator Backup | POWER TRACKER | Power | Power User | INFRASTRUCTURE Lookup |  | REMOVE FIELD
Comment | POWER TRACKER | Power | Power User | Free-Form Text

## POWER READING Fields
POWER READING Field Name | Data Source | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site | POWER TRACKER | Power | Power Reading | Lookup SITE |  | Select SITE Table Entry
Power Supply | POWER TRACKER | Power | Power Reading | Lookup POWER SUPPLY | ESB, SSE, Building Owner | Select POWER SUPPLY Table Entry
Reading Type | POWER TRACKER | Power | Power Reading | Option | Power Supplier Estimate, Power Supplier Actual, TL Estimate, TL Actual
Reading kWh | POWER TRACKER | Power | Power Reading | Integer
Day Reading kWh | POWER TRACKER | Power | Power Reading | Integer
Night Reading kWh | POWER TRACKER | Power | Power Reading | Integer
Peak Reading kWh | POWER TRACKER | Power | Power Reading | Integer
Reading Date | POWER TRACKER | Power | Power Reading | Date
Read By | POWER TRACKER | Power | Power Reading | Lookup PROFILE |  | Select PROFILE Table Entry
Entered By | POWER TRACKER | Power | Power Reading | Lookup PROFILE |  | Select PROFILE Table Entry
Comment | POWER TRACKER | Power | Power Reading | Free-Form Text

## POWER BILL Fields
POWER BILL Field Name | Data Source | AREA | SUB-AREA | Field Type | Option Values | Query/Comment
Site | POWER TRACKER | Power | Power Bill | Lookup SITE |  | LEAVE FOR NOW
Power Supply | POWER TRACKER | Power | Power Bill | Lookup POWER SUPPLY
Customer | POWER TRACKER | Power | Power Bill | Lookup COMPANY
Customer Site Reference | POWER TRACKER | Power | Power Bill
Period From | POWER TRACKER | Power | Power Bill | Date
Period To | POWER TRACKER | Power | Power Bill | Date
Single Rate (c/kWh) | POWER TRACKER | Power | Power Bill
Single Rate Usage (kWh) | POWER TRACKER | Power | Power Bill
Day Rate (c/kWh) | POWER TRACKER | Power | Power Bill
Day Usage (kWh) | POWER TRACKER | Power | Power Bill
Night Rate (c/kWh) | POWER TRACKER | Power | Power Bill
Night Usage (kWh) | POWER TRACKER | Power | Power Bill
Peak Rate (c/kWh) | POWER TRACKER | Power | Power Bill
Peak Usage (kWh) | POWER TRACKER | Power | Power Bill
Entered By | POWER TRACKER | Power | Power Bill | Lookup PROFILE
Comment | POWER TRACKER | Power | Power Bill | String

## PLANNING Fields
PLANNING Field Name | Data Source | AREA(S) | SUB-AREA(S) | To Be Displayed for Planning Types …. | Mandatory | Field Type | Option Values | Query/Comment
Planning Record ID | n/a | Planning | General | All | YES | Auto-Generated Alpha-Numeric | PLN-XXXXX | -
Site |  | Planning | General | All | YES | SITE Lookup | - | Select SITE Table Entry | -
Infrastructure |  | Planning | General | All | YES | INFRASTRUCTURE Lookup |  | Select INFRASTRUCTURE Table Entry where Site matches and type is Structure orf Accommodation
Current Planning Record for Structure | [5 empty] | Option | Yes, No
In Progress Planning Record for Structure | [5 empty] | Option | Yes, No
Planning Type |  | Planning | General | All | YES | Option | Full Planning, Retention Planning, Licence Notification, Exempt, State Planning Exemption, Council Licence, Council Licence Renewal, Unknown | -
Planning Status |  |  | General | All | YES | Option | Not Started, In Preparation, In Planning, Temp Grant, Lifetime Grant, Refusal, Exempt, Expired, Unauthorised, Warning/Enforcement, Judicial Review, n/a, Unknown | Default = Not Started
Planning Expiry Date |  | Planning | General | All | - | Date | - | -
Comments |  | Planning | General | All | - | Text Area | - | -
Local Authority |  | Planning | General | All | YES | Option | See Local Authority List | -
Local Authority Reference |  | Planning | General | All | - | Free-Form Text | - | -
Planning Company |  | Planning | General | All | - | COMPANY Lookup | - | Select COMPANY Table Entry
Planner |  | Planning | General | All | - | PROFILE Lookup | - | Select COMPANY Table Entry
Forecast Submission Date |  | Planning | General | All | - | Date | - | -
Submitted Date |  | Planning | General | All | - | Date | - | -
FI Requested |  |  | General | Full Planning, Retention Planning, Council Licence, Council Licence Renewal, State Planning | - | Date
FI Submitted |  |  | General | Full Planning, Retention Planning, Council Licence, Council Licence Renewal, State Planning | - | Date
Notification of Decision Date |  | Planning | General | Full Planning, Retention Planning | - | Date
Local Authority Decision |  | Planning | General | Full Planning, Retention Planning, Council Licence, Council Licence Renewal, State Planning | YES | Option | Not Decided, Temp Grant, Lifetime Grant, Refusal, n/a | Default = Not Decided
Local Authority Final Decision Date |  | Planning | General | Full Planning, Retention Planning, Council Licence, Council Licence Renewal, State Planning | - | Date | - | -
Restricted |  | Planning | General | All | - | Option | No, Yes | What does this field mean?
Conditions |  | Planning | General | Full Planning, Retention Planning, Council Licence, Council Licence Renewal, State Planning | - | Text Area | - | -
Conditions Discharged |  | Planning | General | Full Planning, Retention Planning, Council Licence, Council Licence Renewal, State Planning | - | Text Area | - | -
Conditions Outstanding |  | Planning | General | Full Planning, Retention Planning, Council Licence, Council Licence Renewal, State Planning | - | Text Area | - | -
Financial Condition Status |  |  | General | Full Planning, Retention Planning |  | Option | Not Required, To Be Paid, Paid, Paid and Appealled, To Be Refunded, Refunded
Financial Condition Amount |  |  | General | Full Planning, Retention Planning |  | Currency
1st Party Appeal |  |  | Appeal | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Option | Yes, No | Default = No
3rd Party Appeal |  |  | Appeal | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Option | Yes, No | Default = No
Financial Appeal |  |  | Appeal | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Option | Yes, No | Default = No
ACP Reference |  |  | Appeal | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Free-Form Text
Appeal Submission Date |  |  | Appeal | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Date
ACP Decision |  |  | Appeal | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Option | Not Decided, Temp Grant, Lifetime Grant, Refusal, n/a
ACP Forecast Decision Date |  |  | Appeal | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Date
ACP Decision Date |  |  | Appeal | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Date
Section 5 Submitted |  | Planning | Section 5 | - | - | Date
Section 5 Decided |  | Planning | Section 5 | - | - | Date
Section 5 Reference |  | Planning | Section 5 | - | - | Free-Form Text
Section 5 Decision |  | Planning | Section 5 | - | - | Option | Exempt, Full Planning
Section 5 Comment |  | Planning | Section 5 | - | - | Text Area
Risk Level |  | Planning | Community | - | - | Free-Form Text | Low, Medium, High | -
C.R. Sensitivity |  | Planning | Community | - | - | Option | Low, Medium, High | -
C.R. Comments |  | Planning | Community | - | - | Text Area | - | -
P.R. Sensitivity |  | Planning | Community | - | - | Option | Low, Medium, High | -
P.R. Comments |  | Planning | Community | - | - | Text Area | - | -
Judicial Review Status |  | Planning | JR | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Option | JR Leave Sought, JR Leave Granted, JR Decided
JR Application Made |  | Planning | JR | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Date
Hearing Commencement |  | Planning | JR | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Date
JR Comments |  | Planning | JR | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Text Area
JR Result |  | Planning | JR | Full Planning, Retention Planning, Council Licence, Council Licence Renewal |  | Option | Quashed, Remitted, Upheld
Files Available |  | Planning | All |  | - | Option | No, Yes | -
Planning Designer |  | Files & Drawings | Files & Drawings |  | - | COMPANY Lookup |  | Select COMPANY Table Entry
Planning Files |  | Planning | Files |  | - | Lookup to files | -

## Local Authority List
Local Authorities
Carlow County
Cavan County
Clare County
Cork City
Cork County
Donegal County
Dublin - Dublin City Council
Dublin - Dun Laoghaire Rathdown
Dublin - Fingal
Dublin - South Dublin
Galway City
Galway County
Kerry County
Kildare County
Kilkenny County
Laois County
Leitrim County
Limerick City & County
Longford County
Louth County
Mayo County
Meath County
Monaghan County
Offaly County
Roscommon County
Sligo County
Tipperary County
Waterford County
Westmeath County
Wexford County
Wicklow County

## LAND Fields
LAND Field Name | Data Source | AREA(S) | SUB-AREA(S) | Field Type | Option Values | Query
Site | - | LAND | - | SITE Lookup | - | Select SITE Table Entry | 1
LAND ID | Master Tracker | LAND | - | Auto-Generated Alpha-Numeric | LAND-XXXXX |  | 2
Land Agreement Status |  |  |  | Option | Current, Siuperceded, In Progress |  | 3
C.O.A | YES | LAND | - | Option | No, Yes |  | 4
Title Type | YES | LAND | - | Option | Right of Use, Freehold, Freehold Registered, Income Assignment, Leasehold, Leasehold Registered, Licence, TALA, Part A, Council Licence, Freehold Registered/Leasehold | - | 5
Folio | YES | LAND | - | Free-Form Text | - | - | 6
Folio Registration Complete | YES | LAND | - | Option | No, Yes | - | 7
Burden | YES | LAND | - | Option | No, Yes | - | 8
Burden Details | YES | LAND | - | Text Area | - | - | 9
Land Tag | NO | LAND |  | Multi-Option | Coillte | To be able to identify, for instance, sites where access might be Coillte related | 10
Start Date | YES | LAND | Leasehold | Date | - | - | 11
Expiry Date | YES | LAND | Leasehold | Date | - | - | 12
Current Amount Payable | YES | LAND | Leasehold | Currency | - | Is this a string or currency field / is there validation? | 13
Landlord Name | YES | LAND | Leasehold | COMPANY Lookup | - | Select COMPANY Table Entry | 14
Landlord Contact | YES | LAND | Leasehold | PROFILE Lookup | - | Select PROFILE Table Entry | 15
Review Basis | YES | LAND | Leasehold | Free-Form Text | - | - | 16
Review Next Date | YES | LAND | Leasehold | Date | - | - | 17
Agreement Comment | YES | LAND | Leasehold | Free-Form Text | - | - | 18
Landlord Group | NO | LAND | Leasehold | Option | Eircom, Private |  | 19

## ROW Fields
LAND Field Name | Data Source | AREA(S) | SUB-AREA(S) | Field Type | Option Values | Query/Comment
Site | - | ROW | - | SITE Lookup | - | Select SITE Table Entry
ROW ID | Master Tracker | ROW | - | Auto-Generated Alpha-Numeric | ROW-XXXXX
ROW Status |  | ROW |  | Option | Current, Secondary, Superceded, In Progress
R.O.W. Type | IN RADIX AND NEW SYSTEM | ROW |  | Option | Eircom land, Eircom & 3rd Party land; 3rd Party land; 3rd Party & unregistered land; Abuts Public Road | -
R.O.W. Registered | IN RADIX AND NEW SYSTEM | ROW |  | Option | No, Yes | -
R.O.W. Folio | IN RADIX AND NEW SYSTEM | ROW |  | Free-Form Text | - | -
R.O.W. Conditions | IN RADIX AND NEW SYSTEM | ROW |  | Text Area | - | -
Long Term User | IN RADIX AND NEW SYSTEM | ROW |  | Option | No, Yes | -
Wayleave Registered | IN RADIX AND NEW SYSTEM | ROW |  | Option | No, Yes | -
Wayleave Folio | IN RADIX AND NEW SYSTEM | ROW |  | Free-Form Text | - | -
Wayleave Comments | IN RADIX AND NEW SYSTEM | ROW |  | Free-Form Text | - | -
Current Amount Payable | YES | ROW |  | Currency | - | Is this a string or currency field / is there validation?
Landlord Name | YES | ROW |  | COMPANY Lookup | - | Select COMPANY Table Entry
Landlord Contact | YES | ROW |  | PROFILE Lookup | - | Select PROFILE Table Entry
Review Basis | YES | ROW |  | String | - | -
Review Next Date | YES | ROW |  | Date | - | -
Agreement Comment | YES | ROW |  | String | - | -
Landlord Group | NO | ROW |  | Option | Eircom, Private

## CAPACITY REVIEW Fields
INSPECTION Field Name | Data Source | RADIX AREA(S) | RADIX SUB-AREA(S) | Field Type | Option Values | Query
Site | TLM Tracker |  |  | SITE Lookup | - | Select SITE Table Entry | -
Structure | TLM Tracker |  |  | STRUCTURE Lookup |  | Select INFRASTRUCTURE Table Entry where Site matches
Review Date | TLM Tracker | - | - | Date | - | -
Company Reviewed By | TLM Tracker |  |  | COMPANY Lookup |  | Select COMPANY Table Entry
Person Reviewed by | TLM Tracker | - | - | PROFILE Lookup | - | Select PROFILE Table Entry
Existing Structure Equipment Loading (Σ E-BM_(m².m)) | TLM Tracker | Analysis | Existing | Decimal
Existing Structure Capacity (%) | TLM Tracker | Analysis | Existing | Integer
Existing Foundation Overturning (kNm) | TLM Tracker | Analysis | Existing | Decimal
Existing Foundation Capacity (%) | TLM Tracker | Analysis | Existing | Integer
Future Structure Equipment Loading (Σ E-BM_(m².m)) | TLM Tracker | Analysis | Future | Decimal
Future Structure Capacity (%) | TLM Tracker | Analysis | Future | Integer
Future Foundation Overturning (kNm) | TLM Tracker | Analysis | Future | Decimal
Futurfe Foundation Capacity (%) | TLM Tracker | Analysis | Future | Integer
Comments | TLM Tracker | - | - | Text Area | - | -

## CUSTOMER PRESENCE Fields
CUSTOMER PRESENCE Field Name | Data Source | AREA(S) | SUB-AREA(S) | Field Type | Option Values | Query/Comments
Site |  |  |  | SITE Lookup
Customer |  |  |  | COMPANY Lookup |  | Should only be a Company whose Customer Flag = Customer
Customer Site ID |  |  |  | Free-Form Text
Presence Type |  |  |  | Option | To Be Licence, Licenced, Installed, Removed

## Tower Family List
Tower Family
Eve Type 5
Eve Type 6
15 - 0T9 (1-user)
15 - 3T9 (1-user)
18 - 3T9 (Delmec)
3-Pole Cluster
Ballast & Pole Mount
Ballast Mount
Brick Tower
Del - 24-0CP
Del 6
Del_3 - 15
Del_4 - 20
Del_4 - 25
Delmec 15m
Empty
Eve Type 5
Eve Type 6
GSM - 01
GSM - 02
GSM_01_18-0CP
GSM_01_21-0CP
GSM_02_21-0CP
GSM_02_24-0CP
GSM_02_24-3CP
GSM-01
GSM-02
Guyed Mast
Guyed Pole
No Structure
Pole Mount
Pole Mount frame
Previously Pole Mount
Rooftop Delta Tower
Rooftop Empty
Type - 25m - 03
Type - ARU - 1
Type - EVE - 1
Type - EVE - 2
Type - EVE - 3
Type - EVE - 4
Type - EVE - 5
Type - EVE - 6
Type - FLI - 1
Type - FLI - 2
Type - FLI - 3
Type - GTE - 1
Type - GTE - 2
Type - JCM - 1
Type - JCM - 2
Type - JCM - 3
Type - JCM - 4
Type - JCM - 5
Type - JCM - 6
Type - JMS - 1
Type - JMS - 2
Type - JMS - 3
Type - P&T - 0
Type - P&T - 2
Type - P&T - 3
Type - P&T - 4
Type - TC - 1
Type - TC - 4
Type - WAT - 2
Type - WAT - 3
Type - WAT- 1
V6X
V8X
Voss - 15-0CP
Voss - 18-0CP
Voss - 18-3CP
Voss - 20-0CP
Voss - 21-0CP
Voss - 24-0CP
Warren Truss
Wooden Pole